## Cargas
New | Load.611 | Bus1=C611.3 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 5 | Model=5 | daily | Residencial | daily=Residencial | kV | 0.22 | kV=0.22 | kW | 170 | kvar | 80 | S | 187.89 | 187.89 | 300.624
New | Load.634a | Bus1=C634.1 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kV | 0.22 | kV=0.22 | kW | 160 | kvar | 110 | S | 194.17 | 494.17 | 790.672
New | Load.634b | Bus1=C634.2 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kV | 0.22 | kV=0.22 | kW | 120 | kvar | 90 | S | 150
New | Load.634c | Bus1=C634.3 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kV | 0.22 | kV=0.22 | kW | 120 | kvar | 90 | S | 150
New | Load.645 | Bus1=C645.2 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 170 | kvar | 125 | S | 211.01 | 211.01 | 337.616
New | Load.646 | Bus1=C646.2.3 | Phases | 1 | Phases=1 | Conn | Delta | Conn=Delta | Model | 2 | Model=2 | daily | Residencial | daily=Residencial | kv | 0.38 | kv=0.38 | kW | 230 | kvar | 132 | S | 265.19 | 265.19 | 424.304
New | Load.652 | Bus1=C652.1 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 2 | Model=2 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 128 | kvar | 86 | S | 154.21 | 154.21 | 246.736
New | Load.670a | Bus1=C670.1 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 17 | kvar | 10 | S | 19.73 | 231.22 | 369.952
New | Load.670b | Bus1=C670.2 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 66 | kvar | 38 | S | 76.16
New | Load.670c | Bus1=C670.3 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 117 | kvar | 68 | S | 135.33
New | Load.671 | Bus1=C671.1.2.3 | Phases | 3 | Phases=3 | Conn | Delta | Conn=Delta | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.38 | kv=0.38 | kW | 385 | kvar | 220 | S | 443.43 | 443.43 | 709.488
New | Load.675a | Bus1=C675.1 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 485 | kvar | 190 | S | 520.89 | 970.81 | 1553.296
New | Load.675b | Bus1=C675.2 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 68 | kvar | 60 | S | 90.69
New | Load.675c | Bus1=C675.3 | Phases | 1 | Phases=1 | Conn | Wye | Conn=Wye | Model | 1 | Model=1 | daily | Residencial | daily=Residencial | kv | 0.22 | kv=0.22 | kW | 290 | kvar | 212 | S | 359.23
New | Load.692 | Bus1=C692.3.1 | Phases | 1 | Phases=1 | Conn | Delta | Conn=Delta | Model | 5 | Model=5 | daily | Residencial | daily=Residencial | kv | 0.38 | kv=0.38 | kW | 170 | kvar | 151 | S | 227.38 | 227.38 | 363.808
[21 empty] | 843 |  | 462

## LoadShapes
1 | 0.69 | 0.3921 | Sobrecarga | 1
2 | 0.51 | 0.2898
3 | 0.45 | 0.2557
4 | 0.42 | 0.2387
5 | 0.55 | 0.3126
6 | 0.85 | 0.483
7 | 1.02 | 0.5796
8 | 0.8 | 0.4546
9 | 0.9 | 0.5114
10 | 0.91 | 0.5171
11 | 1.03 | 0.5853
12 | 1.04 | 0.591
13 | 1.11 | 0.6307
14 | 0.98 | 0.5569
15 | 0.94 | 0.5341
16 | 0.94 | 0.5341
17 | 1.03 | 0.5853
18 | 1.27 | 0.7216
19 | 1.52 | 0.8637
20 | 1.59 | 0.9035
21 | 1.76 | 1
22 | 1.51 | 0.858
23 | 1.3 | 0.7387
24 | 0.9 | 0.5114